## Modes
Name | Duration (s) | Duration (bouts) | Save | Baseline
startup | -1 | -1 | 0 | 0
standby | -1 | -1 | 0 | 0
signal preview 1 | -1 | -1 | 0 | 0
calibration | 120 | -1 | 1 | 0
signal preview 2 | -1 | -1 | 0 | 0
habituation | 1800 | -1 | 1 | 0
signal preview 3 | -1 | -1 | 0 | 0
pre-inject | 600 | -1 | 1 | 0
inject | -1 | -1 | 0 | 0
post-inject | 900 | -1 | 1 | 1
Challenge | -1 | -1 | 1 | 0
finished | -1 | -1 | 0 | 0

## Tunables
Tunable | Value | Category
Duration_Cal | 30 | Arduino
Duration_Prefill | 60 | Arduino
Position_RA | 0 | Arduino
Position_Gas | 3 | Arduino
Invert_Flow | 0 | Signals_Flow
Filt_Flow | None | Signals_Flow
Baseline_Flow | 0 | Signals_Flow
Thresh_Flow_1 | 0.1 | Signals_Flow
Thresh_Flow_2 | 0.2 | Signals_Flow
Invert_ECG | 0 | Signals_ECG
Filt_ECG | None | Signals_ECG
Baseline_ECG | 0 | Signals_ECG
Absolute_Thresh_ECG | 0.3 | Signals_ECG
Thresh_ECG_1 | 4 | Signals_ECG
Thresh_ECG_2 | 2 | Signals_ECG
Noise_ECG | 75 | Signals_ECG
HR_Recovery_Thresh | 63 | Challenge_Settings
BPM_Recovery_Thresh | 50 | Challenge_Settings
QB_Minimum_Duration | 5 | Challenge_Settings
Recovery_Duration | 300 | Challenge_Settings
Since_Last_Breath_Trigger | 3 | Challenge_Settings
Call_Death_Trigger | 600 | Challenge_Settings
Maximum_Bouts | -1 | Challenge_Settings
avg_BPM | 250 | Quality_Settings
avg_HR | 700 | Quality_Settings
avg_RR | 999 | Quality_Settings
cv_TT | 0.5 | Quality_Settings
cv_RR | 0.5 | Quality_Settings
Baseline_Drift | 0.5 | Quality_Settings
DVTV | 0.75 | Quality_Settings
SMS | None | Alert_Settings
Email | None | Alert_Settings

## ProcessStatusCommands
status | complex condition | serial command | DIO | pulse duration
standby |  | <S,0,0> | None | 1
startup |  | <U,0,0> | None | 1
streaming |  | None | None | 1
ready to save |  | None | None | 1
calibration |  | <C,{Duration_Cal},0> | 1,1 | 1
challenge air |  | <R,{Position_RA},0> | 3,1 | 1
challenge fas |  | <A,{Position_Gas},{Duration_Prefill}> | 2,1 | 1